# SNS COLLEGE OF TECHNOLOGY

(An Autonomous Institution)

Approved by AICTE, New Delhi, Affiliated to Anna University, Chennai Accredited by NAAC-UGC with ‘A++’ Grade (Cycle III) &

Accredited by NBA (B.E - CSE, EEE, ECE, Mech & B.Tech.IT)

COIMBATORE-641 035, TAMIL NADU

DEPARTMENT OF AIDS

Course Code & Name : 23EET103 & ELECTRIC CIRCUITS AND ELECTRON DEVICES

Course Faculty	: Ms.RANJANI K

ASSIGNMENT QUESTION

UNIT V - RECTIFIERS AND POWER SUPPLIES

Q1. (Company: Texas Instruments / Analog Devices – Power Electronics Role)

Texas Instruments is designing a low-noise DC power supply for precision analog sensors used in industrial automation.

As a power electronics engineer, explain:

- Why a bridge rectifier with appropriate filter is preferred over other rectifier configurations

- The role of capacitor, inductor, and π-filters in reducing ripple and noise

- The need for voltage regulation even after filtering

Justify the complete rectifier–filter–regulator selection for high-accuracy applications.

Q2. (Company: Apple / Qualcomm / Samsung – Consumer Electronics & SMPS Design)

A smartphone charger must be compact, lightweight, highly efficient, and thermally safe.

As a design engineer:

- Explain why SMPS is preferred over linear mode power supply

- Analyze how switching frequency affects size, efficiency, and losses

- Discuss the importance of thermal management (heat sinks and cooling methods) in high-power chargers

Conclude with reasons why linear power supplies are unsuitable for modern portable devices.

Q3. (Company: Schneider Electric / GE Healthcare – Critical Power Systems)

A hospital requires uninterrupted, regulated, and reliable power for life-support and diagnostic equipment.

As a system designer:

- Propose a complete power conditioning system including rectifier, filter, voltage regulator, UPS, battery charger, and thermal management

- Explain the choice of online UPS over other UPS types

- Discuss how battery charging strategy and heat dissipation affect system reliability

Justify your design choices from safety, efficiency, and reliability perspectives.